## Configuration
| HP | BAT | PCM | Boiler | WG | PV | Rankine cycle |  | 51 |  |  |  | 143 |  |  |  | 209 |  |  |  | 350
max kW / module | 50 | 82 | 50 | [5 empty] | Total thermal loads | Total Electrical loads | PV | WG | Total thermal loads | Total Electrical loads | PV | WG | Total thermal loads | Total Electrical loads | PV | WG | Total thermal loads | Total Electrical loads | PV | WG
max kWh (=100%Soc) / module | 286.125 | 82 | 205 | [5 empty] | 62750 | 391735.7253 | 0 | 0 | 62750 | 340412.2878 | 0 | 68.75 | 62750 | 324434.1628 | 0 | 0 | 62750 | 413727.9128 | 0 | 883606.25
O&M cost/kWh | 0.0011 | 0.002 | 0.003 | 0.0014 | 0.012 | 0.01 |  |  | 62750 | 395127.2883 | 0 | 0 | 62750 | 331497.6008 | 0 | 1712.5 | 62750 | 328930.4133 | 0 | 0 | 62750 | 381738.2258 | 0 | 650893.75
O&M cost / module | 0.31474 | 0.164 | 0.615 | [5 empty] | 62750 | 386838.7718 | 0 | 0 | 62750 | 332710.6468 | 0 | 5662.5 | 62750 | 329548.1468 | 0 | 0 | 62750 | 402685.6468 | 0 | 712950
Specific capital cost/kWh | 200 | 350 | 83 |  | 1100 | 2000 |  |  | 62750 | 400327.6008 | 0 | 0 | 62750 | 343604.1633 | 0 | 67981.25 | 62750 | 317002.6008 | 0 | 0 | 62750 | 402794.7883 | 0 | 646381.25
Specific capital cost/modul | 57225 | 28700 | 17015 | [5 empty] | 62750 | 398289.0843 | 0 | 0 | 62750 | 332612.5218 | 0 | 93.75 | 62750 | 313868.7718 | 0 | 0 | 62750 | 418048.4593 | 0 | 713575
Plant power (kW) | 450 | 6806 | 1400 |  | 2500 | 3000 |  |  | 89092.9752 | 485746.1617 | 0 | 0 | 89092.9752 | 414122.7242 | 0 | 3175 | 89092.9752 | 405064.9117 | 0 | 0 | 89092.9752 | 526019.5992 | 0 | 495637.5
Plant efficiency | 0.75 | over 95% |  |  |  |  | th: 0.38 |  | 608333.3452 | 487656.9442 | 0 | 0 | 608333.3452 | 421633.5067 | 3200 | 12056.25 | 608333.3452 | 453274.1317 | 575 | 12.5 | 608333.3452 | 553850.6942 | 0 | 293306.25
Pumping power (kW) | 600 | [7 empty] | 1032778.9374 | 515761.0326 | 1112.5 | 0 | 1032778.9374 | 482228.2201 | 105025 | 10175 | 1032778.9374 | 560853.2201 | 29143.75 | 0 | 1032778.9374 | 673178.2201 | 0 | 171306.25
Number of modules | 9 | 83 | 28 | [5 empty] | 1047916.6785 | 559945.916 | 287081.25 | 0 | 1047916.6785 | 543275.6035 | 354950 | 22181.25 | 1047916.6785 | 607189.666 | 165525 | 6.25 | 1047916.6785 | 776580.291 | 8731.25 | 86112.5
Stored energy (kWh) | 2575.125 | 6806 | 5740 | [5 empty] | 857735.549 | 571927.4889 | 1049418.75 | 0 | 857735.549 | 550136.8639 | 787793.75 | 194887.5 | 857735.549 | 613097.8014 | 723375 | 5018.75 | 857735.549 | 785338.4264 | 269143.75 | 99256.25
Lifetime | [8 empty] | 744064.0614 | 544977.1977 | 1648937.5 | 0 | 744064.0614 | 580924.0727 | 1516562.5 | 336000 | 744064.0614 | 628466.2602 | 1244425 | 5781.25 | 744064.0614 | 725172.5102 | 606043.75 | 110050
[9 empty] | 763975.7698 | 505042.4123 | 1230287.5 | 0 | 763975.7698 | 591875.2248 | 1754400 | 217981.25 | 763975.7698 | 642775.2248 | 1646625 | 8537.5 | 763975.7698 | 715931.4748 | 762643.75 | 177493.75
[9 empty] | 718980.7281 | 497512.8491 | 1358200 | 0 | 718980.7281 | 592297.2241 | 2021168.75 | 235475 | 718980.7281 | 625105.0366 | 1913281.25 | 7862.5 | 718980.7281 | 695637.8491 | 1555893.75 | 218537.5
| Marcos | [7 empty] | 719568.8824 | 507461.4182 | 931306.25 | 0 | 719568.8824 | 598775.4807 | 2055762.5 | 133925 | 719568.8824 | 635334.8557 | 2052331.25 | 4193.75 | 719568.8824 | 715072.3557 | 816993.75 | 205443.75
| Enea | [7 empty] | 694402.2157 | 539057.1804 | 1449737.5 | 0 | 694402.2157 | 652621.2429 | 2010225 | 157206.25 | 694402.2157 | 583954.0554 | 2075393.75 | 4043.75 | 694402.2157 | 680614.9929 | 572993.75 | 62693.75
| Lit | [7 empty] | 720157.0366 | 556814.9979 | 1487075 | 0 | 720157.0366 | 610611.8729 | 1873050 | 81712.5 | 720157.0366 | 569843.1229 | 1956393.75 | 21343.75 | 720157.0366 | 621010.3104 | 389706.25 | 71393.75
[9 empty] | 765235.4117 | 548009.3217 | 1547712.5 | 0 | 765235.4117 | 600421.8217 | 2095193.75 | 55593.75 | 765235.4117 | 594010.8842 | 1738300 | 10118.75 | 765235.4117 | 585506.1967 | 125368.75 | 3068.75
[9 empty] | 745323.7033 | 497718.7258 | 612237.5 | 0 | 745323.7033 | 550562.4758 | 1809862.5 | 175175 | 745323.7033 | 568789.0383 | 1412500 | 7487.5 | 745323.7033 | 541251.5383 | 18012.5 | 0
[9 empty] | 475871.9008 | 417148.0062 | 79631.25 | 0 | 475871.9008 | 464054.2562 | 1284600 | 332050 | 475871.9008 | 439046.4437 | 1022968.75 | 5418.75 | 475871.9008 | 463201.1312 | 0 | 493.75
[9 empty] | 601455.2342 | 465631.2786 | 31.25 | 0 | 601455.2342 | 504621.9036 | 483493.75 | 145087.5 | 601455.2342 | 469020.3411 | 492531.25 | 6312.5 | 601455.2342 | 494684.4036 | 0 | 100
[9 empty] | 491009.6419 | 512742.0297 | 0 | 0 | 491009.6419 | 526945.1547 | 148112.5 | 11268.75 | 491009.6419 | 529796.7172 | 144518.75 | 27268.75 | 491009.6419 | 537060.7797 | 0 | 0
[9 empty] | 296342.9752 | 508746.0442 | 0 | 0 | 296342.9752 | 501302.2942 | 12187.5 | 0 | 296342.9752 | 531510.1067 | 12837.5 | 91837.5 | 296342.9752 | 539064.7942 | 0 | 0
[9 empty] | 151926.3085 | 510549.1936 | 0 | 0 | 151926.3085 | 499149.1936 | 0 | 287.5 | 151926.3085 | 503619.5061 | 0 | 1556.25 | 151926.3085 | 525058.5686 | 0 | 0
[9 empty] | 32004.8209 | 500701.4806 | 0 | 0 | 32004.8209 | 481413.9806 | 0 | 0 | 32004.8209 | 483715.5431 | 0 | 0 | 32004.8209 | 505707.7306 | 0 | 0
[8 empty] | Sum (W) | 11869926.1758 | 11705468.15 | 11682768.75 | 0 | 11869926.1758 | 11847810.3375 | 18315587.5 | 2199756.25 | 11869926.1758 | 12058250.9625 | 16630725 | 206800 | 11869926.1758 | 13678936.9 | 5125531.25 | 5602300
[8 empty] | Avg Daily El load (kWh) | 12322.6166
[8 empty] | Avg Daily th load (kWh) | 11869.9262
[8 empty] | Yearly El load (kWh) | 4497755.0544
[8 empty] | Yearly th load (kWh) | 4332523.0542
[8 empty] | Avg Daily PV (kWh) | 12938.6531
[8 empty] | Avg Daily WT (kWh) | 2002.2141

## Day1
Electricity price | T | P_CT_WD | P_CT_PV | P_c_Cbu | P_c_CEV | P_c_CPl | P_ess_BAT | P_ess_SC | P_ess_HP | P2rk | P_csp | P_tsp | P_ess_PCM | P_c_Ctbu_1 | P_c_Ctbu_2 | P_c_Ctbu_3 | P_c_Ctbu_4 | P_c_Ctbu_5 | P_c_Ctbu_6 | P_c_Ctbu_7 | P_c_Ctbu_8 | P_c_Ctbu_9 | P_c_Ctbu_10 | P_c_Ctbu_11 | P_c_Ctbu_12 | SOC_BAT | SOC_SC | SOC_HP | SOC_PCM | Pe_grid | Pt_grid | EP_con | EP_gen | P_c_Ctbu | Pe_import | Pe_export | Pt_import | Pt_export | mismatch el | mismatch th | mismatch total | Low price | High price | import in LPT | Export in HPT | RC_SPMp_swPP
0.26039 | 0 | 68.75 | 0 | -340412.2878 | 0 | 0 | 0 | 0 | 0 | -340343.5378 | -514.3725 | 25000 | 62750 | -62750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0.5 | 0.47882 | -340343.5378 | -315857.9103 | 0.23159 | 0.17988 | -62750 | -340343.5378 | 0 | -315857.9103 | 0 | 0 | 0 | 315857.9103 | 1 | 0 | -340343.5378 | 0 | -340343.5378
0.25714 | 3600 | 1712.5 | 0 | -331497.6008 | 0 | 0 | 0 | 0 | 0 | -329785.1008 | -459.8425 | 25000 | 62750 | -62750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0.5 | 0.45765 | -329785.1008 | -305244.9433 | 0.2231 | 0.17125 | -62750 | -329785.1008 | 0 | -305244.9433 | 0 | 0 | 0 | 305244.9433 | 1 | 0 | -329785.1008 | 0 | -329785.1008
0.25443 | 7200 | 5662.5 | 0 | -332710.6468 | 0 | 0 | 0 | 0 | 373500 | -700548.1468 | -412.325 | 25000 | 62750 | -62750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0.38832 | 0.43647 | 46451.8532 | -675960.4718 | 0.22506 | 0.17124 | -62750 | 0 | 46451.8532 | -675960.4718 | 0 | -4.9477e-10 | 0 | 675960.4718 | 1 | 0 | 0 | 0 | -700548.1468
0.25298 | 10800 | 67981.25 | 0 | -343604.1633 | 0 | 0 | 0 | 0 | 373500 | -649122.9133 | -381.655 | 25000 | 62750 | -62750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0.16495 | 0.4153 | 97877.0867 | -624504.5683 | 0.22482 | 0.17119 | -62750 | 0 | 97877.0867 | -624504.5683 | 0 | 0 | 0 | 624504.5683 | 1 | 0 | 0 | 0 | -649122.9133
0.25275 | 14400 | 93.75 | 0 | -332612.5218 | 0 | 0 | 40000 | 0 | 450000 | -822500 | -357.66 | 25000 | 62750 | -62750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0.033229 | 0.39412 | 157481.2282 | -797857.66 | 0.22534 | 0.17224 | -62750 | 0 | 157481.2282 | -797857.66 | 0 | 0 | 0 | 797857.66 | 1 | 0 | 0 | 0 | -822500
0.25498 | 18000 | 3175 | 0 | -414122.7242 | 0 | 0 | 0 | 0 | 0 | -538940 | -335.0475 | 26106.4821 | 89092.9752 | -62750 | 0 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | 0.49442 | 0.5 | 0 | 0.36406 | -410947.7242 | -513168.5654 | 0.25557 | 0.2018 | -89092.9752 | -410947.7242 | 0 | -513168.5654 | 0 | 0 | 0 | 513168.5654 | 1 | 0 | -410947.7242 | 0 | 538940
0.26271 | 21600 | 12056.25 | 3200 | -421633.5067 | 0 | 0 | 0 | 0 | 0 | -406377 | -259.78 | 30122.0873 | 608333.3452 | -188333.3333 | -367314.0614 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | 0.49442 | 0.5 | 0 | 0.23295 | -406377.2567 | -376514.6927 | 0.27687 | 0.22415 | -608333.3452 | -406377.2567 | 0 | -376514.6927 | 0 | 0 | 5.8208e-10 | 376514.6927 | 1 | 0 | -406377.2567 | 0 | -406377
0.26978 | 25200 | 10175 | 105025 | -482228.2201 | 0 | 0 | 0 | 0 | 0 | -367020 | -212.8158 | 25490.9971 | 1032778.937 | -533750 | -367314.0614 | -13171.4876 | -13171.4876 | -13171.4876 | -13171.4876 | -13171.4876 | -13171.4876 | -13171.4876 | -13171.4876 | -13171.4876 | -13171.4876 | 0.49442 | 0.5 | 0 | 0.15784 | -367028.2201 | -341741.8191 | 0.31287 | 0.22926 | -1032778.9374 | -367028.2201 | 0 | -341741.8191 | 0 | 0 | 0 | 341741.8187 | 0 | 1 | 0 | 0 | -367020
0.27708 | 28800 | 22181.25 | 354950 | -543275.6035 | 0 | 0 | 0 | 0 | 0 | -166140 | -162.3688 | 26407.6177 | 0 | -627916.6667 | -367314.0614 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | 0.49442 | 0.5 | 0 | 0 | -166144.3535 | -1187811.4295 | 0.29241 | 0.22033 | -1047916.6785 | -166144.3535 | 0 | -1187811.4295 | 0 | 0 | -3.3469e-09 | 139894.751 | 0 | 1 | 0 | 0 | -166144.35
0.27673 | 32400 | 194887.5 | 787793.75 | -550136.8639 | 0 | 0 | 432544.3861 | 0 | 0 | 0 | 2724.125 | 69215.471 | 0 | -477250 | -367314.0614 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | 0.49442 | 0.5 | 0 | 0 | 865088.7722 | -785795.953 | 0.33489 | 0.21663 | -857735.549 | 0 | 865088.7722 | -785795.953 | 0 | 0 | 1.8044e-09 | -71939.596 | 0 | 1 | 0 | 865088.7722 | 0
0.27678 | 36000 | 336000 | 1516562.5 | -580924.0727 | 0 | 0 | 1271638.427 | 0 | 0 | 0 | 36137.75 | 73307.5772 | 0 | -376750 | -367314.0614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.43404 | 0.5 | 0 | 0 | 2543276.8543 | -634618.7343 | 0.31591 | 0.20214 | -744064.0614 | 0 | 2543276.8543 | -634618.7343 | 0 | 3.7253e-09 | 4.9477e-10 | -109445.3272 | 0 | 1 | 0 | 2543276.8543 | 0
0.27037 | 39600 | 217981.25 | 1754400 | -591875.2248 | 0 | 0 | 627817.1866 | 0 | 0 | 0 | 28532 | 38491.9883 | 0 | -364166.6667 | -399809.1031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25663 | 0.5 | 0 | 0 | 2008323.2118 | -696951.7815 | 0.30335 | 0.18858 | -763975.7698 | 0 | 2008323.2118 | -696951.7815 | 0 | -4.8894e-09 | 3.638e-11 | -67023.9883 | 0 | 1 | 0 | 2008323.2118 | 0
0.2669 | 43200 | 235475 | 2021168.75 | -592297.2241 | 0 | 0 | 0 | 0 | 0 | 0 | 44426.5 | 25000 | 0 | -351666.6667 | -367314.0614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16845 | 0.5 | 0 | 0 | 1664346.5259 | -649554.2281 | 0.3018 | 0.18761 | -718980.7281 | 0 | 1664346.5259 | -649554.2281 | 0 | 3.0268e-09 | 0 | -69426.5 | 1 | 0 | 0 | 0 | 0
0.26475 | 46800 | 133925 | 2055762.5 | -598775.4807 | 0 | 0 | 0 | 0 | 0 | 0 | -1378.3825 | 25000 | 0 | -339083.3333 | -367314.0614 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | 0.16845 | 0.5 | 0 | 0 | 1590912.0193 | -695947.2649 | 0.24567 | 0.1767 | -719568.8824 | 0 | 1590912.0193 | -695947.2649 | 0 | 0 | 1.8115e-09 | -23621.6175 | 1 | 0 | 0 | 0 | 0
0.26649 | 50400 | 157206.25 | 2010225 | -652621.2429 | 0 | 0 | 0 | 0 | 0 | 0 | -689.28 | 38090.7059 | 0 | -313916.6667 | -367314.0614 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | 0.16845 | 0.5 | 0 | 0 | 1514810.0071 | -657000.7898 | 0.25088 | 0.17739 | -694402.2157 | 0 | 1514810.0071 | -657000.7898 | 0 | -2.0955e-09 | 1.1412e-09 | -37401.4259 | 1 | 0 | 0 | 0 | 0
0.27007 | 54000 | 81712.5 | 1873050 | -610611.8729 | 0 | 0 | 0 | 0 | 0 | 0 | -19.7842 | 26351.2852 | 0 | -326500 | -367314.0614 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | 0.16845 | 0.5 | 0 | 0 | 1344150.6271 | -693825.5356 | 0.24916 | 0.17471 | -720157.0366 | 0 | 1344150.6271 | -693825.5356 | 0 | 0 | 4.917e-11 | -26331.501 | 0 | 1 | 0 | 1344150.6271 | 0
0.27432 | 57600 | 55593.75 | 2095193.75 | -600421.8217 | 0 | 0 | 0 | 0 | 0 | 0 | 1249.805 | 40149.2773 | 0 | -339083.3333 | -399809.1031 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | 0.16845 | 0.5 | 0 | 0 | 1550365.6783 | -723836.3293 | 0.25521 | 0.17994 | -765235.4117 | 0 | 1550365.6783 | -723836.3293 | 0 | 0 | 1.0257e-09 | -41399.0823 | 0 | 1 | 0 | 1550365.6783 | 0
0.27111 | 61200 | 175175 | 1809862.5 | -550562.4758 | 0 | 0 | 0 | 0 | 0 | 0 | 16127.35 | 56163.0156 | 0 | -351666.6667 | -367314.0614 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | 0.16845 | 0.5 | 0 | 0 | 1434475.0242 | -673033.3377 | 0.29964 | 0.17988 | -745323.7033 | 0 | 1434475.0242 | -673033.3377 | 0 | 0 | 3.8744e-10 | -72290.3656 | 0 | 1 | 0 | 1434475.0242 | 0
0.28213 | 64800 | 332050 | 1284600 | -464054.2562 | 0 | 0 | -1890420 | 0 | 0 | 0 | 29227.75 | 32505.4401 | 0 | -370500 | 0 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | 0.16845 | 0.5 | 0 | 0 | -737824.2562 | -414138.7108 | 0.3359 | 0.21405 | -475871.9008 | -737824.2562 | 0 | -414138.7108 | 0 | 0 | -1.4188e-10 | -61733.1901 | 0 | 1 | 0 | 0 | 0
0.2809 | 68400 | 145087.5 | 483493.75 | -504621.9036 | 0 | 0 | 0 | 0 | 0 | 0 | 41683.25 | 25000 | 0 | -496083.3333 | 0 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | 0.44548 | 0.5 | 0 | 0 | 123959.3464 | -534771.9842 | 0.33129 | 0.20932 | -601455.2342 | 0 | 123959.3464 | -534771.9842 | 0 | 0 | 0 | -66683.25 | 0 | 1 | 0 | 123959.3464 | 0
0.27616 | 72000 | 11268.75 | 148112.5 | -526945.1547 | 0 | 0 | 0 | 0 | -367563.9047 | 0 | -1412.095 | 25000 | 0 | -464666.6667 | 0 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | 0.44548 | 0.5 | 0 | 0 | -735127.8094 | -467421.7369 | 0.33337 | 0.21427 | -491009.6419 | -735127.8094 | 0 | -467421.7369 | 0 | 0 | -4.3542e-10 | -23587.905 | 0 | 1 | 0 | 0 | 0
0.27117 | 75600 | 0 | 12187.5 | -501302.2942 | 0 | 0 | 0 | 0 | -450000 | 0 | -1362.545 | 25000 | 0 | -270000 | 0 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | 0.44548 | 0.5 | 0.071692 | 0 | -939114.7942 | -272705.5202 | 0.28468 | 0.20944 | -296342.9752 | -939114.7942 | 0 | -272705.5202 | 0 | 0 | -4.2382e-10 | -23637.455 | 0 | 1 | 0 | 0 | 0
0.26649 | 79200 | 287.5 | 0 | -499149.1936 | 0 | 0 | -30580 | 0 | -450000 | 0 | -653.01 | 25000 | 0 | -125583.3333 | 0 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | 0.44548 | 0.5 | 0.18539 | 0 | -979441.6936 | -127579.3185 | 0.25551 | 0.17979 | -151926.3085 | -979441.6936 | 0 | -127579.3185 | 0 | 0 | 3.0036e-10 | -24346.99 | 1 | 0 | -979441.6936 | 0 | 0
0.26111 | 82800 | 0 | 0 | -481413.9806 | 0 | 0 | -451000 | 0 | 0 | 0 | -372.9475 | 25000 | 0 | -18833.3333 | 0 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | 0.44978 | 0.5 | 0.24353 | 0 | -932413.9806 | -7377.7684 | 0.21942 | 0.17289 | -32004.8209 | -932413.9806 | 0 | -7377.7684 | 0 | 0 | 9.6634e-11 | -24627.0525 | 1 | 0 | -932413.9806 | 0 | 0
Note on AJ1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Import from main upstream grid

## KPI
El Energy Efficiency | 0.84752 | Th Energy Efficiency | 0.93239 | System Energy Efficiency | 0.87655
System operational CO2 emission
Flexibility Factor | 0.63418
CAPEX
OPEX
LCOE
LCOH
EL: |  |  | Th
Total Generation | 24836120.4487 | Total Generation | 3035449.6434
Total Load | 11847810.3375 | Total Load | 15112827.2245
Total El import | 6344548.7272 | Total Th import | 13173221.0535
Total El export | 14578527.5583 | Total Th export | 0
median of price | 0.26834
LCOEnergy
LCOEnergyS
LCOTES
LCOElectricityS
LCOEapp