## Configuration
| HP | BAT | PCM | Boiler | WG | PV | Rankine cycle |  | 51 |  |  |  | 143 |  |  |  | 209 |  |  |  | 350
max kW / module | 50 | 82 | 50 | [5 empty] | Total thermal loads | Total Electrical loads | PV | WG | Total thermal loads | Total Electrical loads | PV | WG | Total thermal loads | Total Electrical loads | PV | WG | Total thermal loads | Total Electrical loads | PV | WG
max kWh (=100%Soc) / module | 286.125 | 82 | 205 | [5 empty] | 62750 | 391735.7253 | 0 | 0 | 62750 | 340412.2878 | 0 | 68.75 | 62750 | 324434.1628 | 0 | 0 | 62750 | 413727.9128 | 0 | 883606.25
O&M cost/kWh | 0.0011 | 0.002 | 0.003 | 0.0014 | 0.012 | 0.01 |  |  | 62750 | 395127.2883 | 0 | 0 | 62750 | 331497.6008 | 0 | 1712.5 | 62750 | 328930.4133 | 0 | 0 | 62750 | 381738.2258 | 0 | 650893.75
O&M cost / module | 0.31474 | 0.164 | 0.615 | [5 empty] | 62750 | 386838.7718 | 0 | 0 | 62750 | 332710.6468 | 0 | 5662.5 | 62750 | 329548.1468 | 0 | 0 | 62750 | 402685.6468 | 0 | 712950
Specific capital cost/kWh | 200 | 350 | 83 |  | 1100 | 2000 |  |  | 62750 | 400327.6008 | 0 | 0 | 62750 | 343604.1633 | 0 | 67981.25 | 62750 | 317002.6008 | 0 | 0 | 62750 | 402794.7883 | 0 | 646381.25
Specific capital cost/modul | 57225 | 28700 | 17015 | [5 empty] | 62750 | 398289.0843 | 0 | 0 | 62750 | 332612.5218 | 0 | 93.75 | 62750 | 313868.7718 | 0 | 0 | 62750 | 418048.4593 | 0 | 713575
Plant power (kW) | 450 | 6806 | 1400 |  | 2500 | 3000 |  |  | 89092.9752 | 485746.1617 | 0 | 0 | 89092.9752 | 414122.7242 | 0 | 3175 | 89092.9752 | 405064.9117 | 0 | 0 | 89092.9752 | 526019.5992 | 0 | 495637.5
Plant efficiency | 0.75 | over 95% |  |  |  |  | th: 0.38 |  | 608333.3452 | 487656.9442 | 0 | 0 | 608333.3452 | 421633.5067 | 3200 | 12056.25 | 608333.3452 | 453274.1317 | 575 | 12.5 | 608333.3452 | 553850.6942 | 0 | 293306.25
Pumping power (kW) | 600 | [7 empty] | 1032778.9374 | 515761.0326 | 1112.5 | 0 | 1032778.9374 | 482228.2201 | 105025 | 10175 | 1032778.9374 | 560853.2201 | 29143.75 | 0 | 1032778.9374 | 673178.2201 | 0 | 171306.25
Number of modules | 9 | 83 | 28 | [5 empty] | 1047916.6785 | 559945.916 | 287081.25 | 0 | 1047916.6785 | 543275.6035 | 354950 | 22181.25 | 1047916.6785 | 607189.666 | 165525 | 6.25 | 1047916.6785 | 776580.291 | 8731.25 | 86112.5
Stored energy (kWh) | 2575.125 | 6806 | 5740 | [5 empty] | 857735.549 | 571927.4889 | 1049418.75 | 0 | 857735.549 | 550136.8639 | 787793.75 | 194887.5 | 857735.549 | 613097.8014 | 723375 | 5018.75 | 857735.549 | 785338.4264 | 269143.75 | 99256.25
Lifetime | [8 empty] | 744064.0614 | 544977.1977 | 1648937.5 | 0 | 744064.0614 | 580924.0727 | 1516562.5 | 336000 | 744064.0614 | 628466.2602 | 1244425 | 5781.25 | 744064.0614 | 725172.5102 | 606043.75 | 110050
[9 empty] | 763975.7698 | 505042.4123 | 1230287.5 | 0 | 763975.7698 | 591875.2248 | 1754400 | 217981.25 | 763975.7698 | 642775.2248 | 1646625 | 8537.5 | 763975.7698 | 715931.4748 | 762643.75 | 177493.75
[9 empty] | 718980.7281 | 497512.8491 | 1358200 | 0 | 718980.7281 | 592297.2241 | 2021168.75 | 235475 | 718980.7281 | 625105.0366 | 1913281.25 | 7862.5 | 718980.7281 | 695637.8491 | 1555893.75 | 218537.5
| Marcos | [7 empty] | 719568.8824 | 507461.4182 | 931306.25 | 0 | 719568.8824 | 598775.4807 | 2055762.5 | 133925 | 719568.8824 | 635334.8557 | 2052331.25 | 4193.75 | 719568.8824 | 715072.3557 | 816993.75 | 205443.75
| Enea | [7 empty] | 694402.2157 | 539057.1804 | 1449737.5 | 0 | 694402.2157 | 652621.2429 | 2010225 | 157206.25 | 694402.2157 | 583954.0554 | 2075393.75 | 4043.75 | 694402.2157 | 680614.9929 | 572993.75 | 62693.75
| Lit | [7 empty] | 720157.0366 | 556814.9979 | 1487075 | 0 | 720157.0366 | 610611.8729 | 1873050 | 81712.5 | 720157.0366 | 569843.1229 | 1956393.75 | 21343.75 | 720157.0366 | 621010.3104 | 389706.25 | 71393.75
[9 empty] | 765235.4117 | 548009.3217 | 1547712.5 | 0 | 765235.4117 | 600421.8217 | 2095193.75 | 55593.75 | 765235.4117 | 594010.8842 | 1738300 | 10118.75 | 765235.4117 | 585506.1967 | 125368.75 | 3068.75
[9 empty] | 745323.7033 | 497718.7258 | 612237.5 | 0 | 745323.7033 | 550562.4758 | 1809862.5 | 175175 | 745323.7033 | 568789.0383 | 1412500 | 7487.5 | 745323.7033 | 541251.5383 | 18012.5 | 0
[9 empty] | 475871.9008 | 417148.0062 | 79631.25 | 0 | 475871.9008 | 464054.2562 | 1284600 | 332050 | 475871.9008 | 439046.4437 | 1022968.75 | 5418.75 | 475871.9008 | 463201.1312 | 0 | 493.75
[9 empty] | 601455.2342 | 465631.2786 | 31.25 | 0 | 601455.2342 | 504621.9036 | 483493.75 | 145087.5 | 601455.2342 | 469020.3411 | 492531.25 | 6312.5 | 601455.2342 | 494684.4036 | 0 | 100
[9 empty] | 491009.6419 | 512742.0297 | 0 | 0 | 491009.6419 | 526945.1547 | 148112.5 | 11268.75 | 491009.6419 | 529796.7172 | 144518.75 | 27268.75 | 491009.6419 | 537060.7797 | 0 | 0
[9 empty] | 296342.9752 | 508746.0442 | 0 | 0 | 296342.9752 | 501302.2942 | 12187.5 | 0 | 296342.9752 | 531510.1067 | 12837.5 | 91837.5 | 296342.9752 | 539064.7942 | 0 | 0
[9 empty] | 151926.3085 | 510549.1936 | 0 | 0 | 151926.3085 | 499149.1936 | 0 | 287.5 | 151926.3085 | 503619.5061 | 0 | 1556.25 | 151926.3085 | 525058.5686 | 0 | 0
[9 empty] | 32004.8209 | 500701.4806 | 0 | 0 | 32004.8209 | 481413.9806 | 0 | 0 | 32004.8209 | 483715.5431 | 0 | 0 | 32004.8209 | 505707.7306 | 0 | 0
[8 empty] | Sum (W) | 11869926.1758 | 11705468.15 | 11682768.75 | 0 | 11869926.1758 | 11847810.3375 | 18315587.5 | 2199756.25 | 11869926.1758 | 12058250.9625 | 16630725 | 206800 | 11869926.1758 | 13678936.9 | 5125531.25 | 5602300
[8 empty] | Avg Daily El load (kWh) | 12322.6166
[8 empty] | Avg Daily th load (kWh) | 11869.9262
[8 empty] | Yearly El load (kWh) | 4497755.0544
[8 empty] | Yearly th load (kWh) | 4332523.0542
[8 empty] | Avg Daily PV (kWh) | 12938.6531
[8 empty] | Avg Daily WT (kWh) | 2002.2141

## Day1
Electricity price | T | P_CT_WD | P_CT_PV | P_c_Cbu | P_c_CEV | P_c_CPl | P_ess_BAT | P_ess_SC | P_ess_HP | P2rk | P_csp | P_tsp | P_ess_PCM | P_c_Ctbu_1 | P_c_Ctbu_2 | P_c_Ctbu_3 | P_c_Ctbu_4 | P_c_Ctbu_5 | P_c_Ctbu_6 | P_c_Ctbu_7 | P_c_Ctbu_8 | P_c_Ctbu_9 | P_c_Ctbu_10 | P_c_Ctbu_11 | P_c_Ctbu_12 | SOC_BAT | SOC_SC | SOC_HP | SOC_PCM | Pe_grid | Pt_grid | EP_con | EP_gen | P_c_Ctbu | Pe_import | Pe_export | Pt_import | Pt_export | mismatch el | mismatch th | mismatch total | Low price | High price | import in LPT | Export in HPT | RC_SPMp_swPP
0.26039 | 0 | 0 | 0 | -391735.7253 | 0 | 0 | -408000 | 0 | 0 | 0 | -479.0275 | 25000 | 62750 | -62750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0.5 | 0.48824 | -799735.7253 | 24520.9725 | 0.25469 | 0.19521 | -62750 | -799735.7253 | 0 | 0 | 24520.9725 | 1.1642e-10 | 0 | -24520.9725 | 1 | 0 | -799735.7253 | 0 | 0
0.25714 | 3600 | 0 | 0 | -395127.2883 | 0 | 0 | 0 | 0 | 0 | 0 | -436.4825 | 25000 | 62750 | -62750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.58652 | 0.5 | 0.5 | 0.47647 | -395127.2883 | 24563.5175 | 0.23504 | 0.17445 | -62750 | -395127.2883 | 0 | 0 | 24563.5175 | 0 | 0 | -24563.5175 | 1 | 0 | -395127.2883 | 0 | 0
0.25443 | 7200 | 0 | 0 | -386838.7718 | 0 | 0 | 0 | 0 | 373500 | 0 | -376.17 | 25000 | 62750 | -62750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.58652 | 0.5 | 0.38832 | 0.46471 | -13338.7718 | 24623.83 | 0.20922 | 0.14961 | -62750 | -13338.7718 | 0 | 0 | 24623.83 | -4.9658e-10 | 0 | -24623.83 | 1 | 0 | -13338.7718 | 0 | 0
0.25298 | 10800 | 0 | 0 | -400327.6008 | 0 | 0 | 0 | 0 | 373500 | 0 | -347.3475 | 25000 | 62750 | -62750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.58652 | 0.5 | 0.16495 | 0.45294 | -26827.6008 | 24652.6525 | 0.20068 | 0.14057 | -62750 | -26827.6008 | 0 | 0 | 24652.6525 | 1.055e-10 | 0 | -24652.6525 | 1 | 0 | -26827.6008 | 0 | 0
0.25275 | 14400 | 0 | 0 | -398289.0843 | 0 | 0 | 0 | 0 | 373500 | 0 | -332.5025 | 25000 | 62750 | -62750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.58652 | 0.5 | 0.040854 | 0.44118 | -24789.0843 | 24667.4975 | 0.20198 | 0.14056 | -62750 | -24789.0843 | 0 | 0 | 24667.4975 | -4.984e-10 | 0 | -24667.4975 | 1 | 0 | -24789.0843 | 0 | 0
0.25498 | 18000 | 0 | 0 | -485746.1617 | 0 | 0 | 0 | 0 | -450000 | 0 | -315.325 | 25000 | 89092.9752 | -62750 | 0 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | 0.58652 | 0.5 | 0.026369 | 0.42448 | -935746.1617 | 24684.675 | 0.20758 | 0.14516 | -89092.9752 | -935746.1617 | 0 | 0 | 24684.675 | 1.1642e-10 | 1.0914e-11 | -24684.675 | 1 | 0 | -935746.1617 | 0 | 0
0.26271 | 21600 | 0 | 0 | -487656.9442 | 0 | 0 | -1155466 | 0 | -450000 | 0 | -6296.525 | 25000 | 608333.3452 | -188333.3333 | -367314.0614 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | 0.58652 | 0.5 | 0.14007 | 0.31043 | -2093122.9442 | 18703.475 | 0.22291 | 0.15946 | -608333.3452 | -2093122.9442 | 0 | 0 | 18703.475 | -3.9581e-09 | 1.0477e-09 | -18703.475 | 1 | 0 | -2093122.9442 | 0 | 0
0.26978 | 25200 | 0 | 1112.5 | -515761.0326 | 0 | 0 | 0 | 0 | -450000 | 0 | -12333.925 | 25000 | 1032778.937 | -533750 | -367314.0614 | -13171.4876 | -13171.4876 | -13171.4876 | -13171.4876 | -13171.4876 | -13171.4876 | -13171.4876 | -13171.4876 | -13171.4876 | -13171.4876 | 0.76575 | 0.5 | 0.25377 | 0.22391 | -964648.5326 | 12666.0746 | 0.23401 | 0.17157 | -1032778.9374 | -964648.5326 | 0 | 0 | 12666.0746 | 0 | -4.9477e-10 | -12666.075 | 0 | 1 | 0 | 0 | 0
0.27708 | 28800 | 0 | 287081.25 | -559945.916 | 0 | 0 | 0 | 0 | -272920.666 | 0 | -12021.05 | 68376.7423 | 1047916.678 | -627916.6667 | -367314.0614 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | 0.76575 | 0.5 | 0.34964 | 0.18157 | -545785.332 | 56355.6918 | 0.20459 | 0.14926 | -1047916.6785 | -545785.332 | 0 | 0 | 56355.6918 | -1.1642e-10 | 3.4925e-10 | -56355.6923 | 0 | 1 | 0 | 0 | 0
0.27673 | 32400 | 0 | 1049418.75 | -571927.4889 | 0 | 0 | 477491.2611 | 0 | 0 | 0 | 982.1075 | 47162.3294 | 857735.549 | -477250 | -367314.0614 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | 0.76575 | 0.5 | 0.38412 | 0.14691 | 954982.5222 | 48144.4369 | 0.19018 | 0.14056 | -857735.549 | 0 | 954982.5222 | 0 | 48144.4369 | 0 | 1.1205e-09 | -48144.4369 | 0 | 1 | 0 | 954982.5222 | 0
0.27678 | 36000 | 0 | 1648937.5 | -544977.1977 | 0 | 0 | 1103960.302 | 0 | 0 | 0 | 3175.175 | 66878.7143 | 0 | -376750 | -367314.0614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.69494 | 0.5 | 0.38412 | 0 | 2207920.6043 | -674010.1721 | 0.17811 | 0.13582 | -744064.0614 | 0 | 2207920.6043 | -674010.1721 | 0 | 3.7253e-09 | 7.4215e-10 | -70053.8893 | 0 | 1 | 0 | 2207920.6043 | 0
0.27037 | 39600 | 0 | 1230287.5 | -505042.4123 | 0 | 0 | 725245.0877 | 0 | 0 | 0 | 13071.975 | 70833.1187 | 0 | -364166.6667 | -399809.1031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.53134 | 0.5 | 0.38412 | 0 | 1450490.1754 | -680070.6761 | 0.1713 | 0.13022 | -763975.7698 | 0 | 1450490.1754 | -680070.6761 | 0 | -4.8894e-09 | -2.3283e-10 | -83905.0937 | 0 | 1 | 0 | 1450490.1754 | 0
0.2669 | 43200 | 0 | 1358200 | -497512.8491 | 0 | 0 | 860687.1509 | 0 | 0 | 0 | 15175.225 | 66931.5695 | 0 | -351666.6667 | -367314.0614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.42177 | 0.5 | 0.38412 | 0 | 1721374.3018 | -636873.9336 | 0.17035 | 0.12872 | -718980.7281 | 0 | 1721374.3018 | -636873.9336 | 0 | 3.0268e-09 | 2.4738e-10 | -82106.7945 | 1 | 0 | 0 | 0 | 0
0.26475 | 46800 | 0 | 931306.25 | -507461.4182 | 0 | 0 | 423844.8318 | 0 | 0 | 0 | 37224.5 | 38356.3729 | 0 | -339083.3333 | -367314.0614 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | 0.28712 | 0.5 | 0.38412 | 0 | 847689.6636 | -643988.0094 | 0.17129 | 0.12993 | -719568.8824 | 0 | 847689.6636 | -643988.0094 | 0 | 0 | 1.8481e-09 | -75580.8729 | 1 | 0 | 0 | 0 | 0
0.26649 | 50400 | 0 | 1449737.5 | -539057.1804 | 0 | 0 | -2.6338 | 0 | 378500 | 0 | 27042 | 59436.5614 | 0 | -313916.6667 | -367314.0614 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | 0.21983 | 0.5 | 0.27094 | 0 | 1289177.6858 | -607923.6543 | 0.17044 | 0.1289 | -694402.2157 | 0 | 1289177.6858 | -607923.6543 | 0 | 2.794e-09 | 8.4401e-10 | -86478.5614 | 1 | 0 | 0 | 0 | 0
0.27007 | 54000 | 0 | 1487075 | -556814.9979 | 0 | 0 | 3 | 0 | 378500 | 0 | 23119.675 | 40093.6403 | 0 | -326500 | -367314.0614 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | 0.21983 | 0.5 | 0.044584 | 0 | 1308763.0021 | -656943.7214 | 0.16784 | 0.12529 | -720157.0366 | 0 | 1308763.0021 | -656943.7214 | 0 | 9.3132e-10 | 5.457e-10 | -63213.3153 | 0 | 1 | 0 | 1308763.0021 | 0
0.27432 | 57600 | 0 | 1547712.5 | -548009.3217 | 0 | 0 | 0 | 0 | 0 | 0 | 35534.5 | 29732.6278 | 0 | -339083.3333 | -399809.1031 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | 0.21983 | 0.5 | 0 | 0 | 999703.1783 | -699968.2838 | 0.17469 | 0.12832 | -765235.4117 | 0 | 999703.1783 | -699968.2838 | 0 | 0 | 1.0368e-09 | -65267.1278 | 0 | 1 | 0 | 999703.1783 | 0
0.27111 | 61200 | 0 | 612237.5 | -497718.7258 | 0 | 0 | 0 | 0 | 0 | 0 | -994.795 | 39311.9395 | 0 | -351666.6667 | -367314.0614 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | 0.21983 | 0.5 | 0 | 0 | 114518.7742 | -707006.5588 | 0.18501 | 0.13632 | -745323.7033 | 0 | 114518.7742 | -707006.5588 | 0 | -1.4552e-11 | 5.5297e-10 | -38317.1445 | 0 | 1 | 0 | 114518.7742 | 0
0.28213 | 64800 | 0 | 79631.25 | -417148.0062 | 0 | 0 | -55963 | 0 | 0 | 0 | -909.0525 | 25000 | 0 | -370500 | 0 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | 0.21983 | 0.5 | 0 | 0 | -393479.7562 | -451780.9533 | 0.25895 | 0.19972 | -475871.9008 | -393479.7562 | 0 | -451780.9533 | 0 | 0 | 4.7294e-11 | -24090.9475 | 0 | 1 | 0 | 0 | 0
0.2809 | 68400 | 0 | 31.25 | -465631.2786 | 0 | 0 | -465600.0286 | 0 | 0 | 0 | -841.5525 | 25000 | 0 | -496083.3333 | 0 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | 0.22899 | 0.5 | 0 | 0 | -931200.0572 | -577296.7867 | 0.27743 | 0.21782 | -601455.2342 | -931200.0572 | 0 | -577296.7867 | 0 | 0 | -1.0914e-11 | -24158.4475 | 0 | 1 | 0 | 0 | 0
0.27616 | 72000 | 0 | 0 | -512742.0297 | 0 | 0 | -512742.0297 | 0 | 0 | 0 | -601.41 | 25000 | 0 | -464666.6667 | 0 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | 0.3052 | 0.5 | 0 | 0 | -1025484.0594 | -466611.0519 | 0.28453 | 0.22479 | -491009.6419 | -1025484.0594 | 0 | -466611.0519 | 0 | 1.0477e-09 | -4.3292e-10 | -24398.59 | 0 | 1 | 0 | 0 | 0
0.27117 | 75600 | 0 | 0 | -508746.0442 | 0 | 0 | -508746.0442 | 0 | 0 | 0 | -506.825 | 25000 | 0 | -270000 | 0 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | 0.38906 | 0.5 | 0 | 0 | -1017492.0884 | -271849.8002 | 0.28195 | 0.22303 | -296342.9752 | -1017492.0884 | 0 | -271849.8002 | 0 | 1.0477e-09 | -4.5475e-10 | -24493.175 | 0 | 1 | 0 | 0 | 0
0.26649 | 79200 | 0 | 0 | -510549.1936 | 0 | 0 | -510549.1936 | 0 | 0 | 0 | -495.6525 | 25000 | 0 | -125583.3333 | 0 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | 0.47131 | 0.5 | 0 | 0 | -1021098.3872 | -127421.961 | 0.27047 | 0.21472 | -151926.3085 | -1021098.3872 | 0 | -127421.961 | 0 | 9.3132e-10 | 3.0195e-10 | -24504.3475 | 1 | 0 | -1021098.3872 | 0 | 0
0.26111 | 82800 | 0 | 0 | -500701.4806 | 0 | 0 | -384162.7038 | 0 | -116528 | 0 | -465.7975 | 25000 | 0 | -18833.3333 | 0 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | 0.55289 | 0.5 | 0 | 0 | -1001392.1844 | -7470.6184 | 0.26045 | 0.20463 | -32004.8209 | -1001392.1844 | 0 | -7470.6184 | 0 | 2.0955e-09 | 1.0186e-10 | -24534.2025 | 1 | 0 | -1001392.1844 | 0 | 0
Note on AJ1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Import from main upstream grid

## KPI
El Energy Efficiency | 0.98811 | Th Energy Efficiency | 0.99383 | System Energy Efficiency | 0.9901
System operational CO2 emission
Flexibility Factor | 0.6044
CAPEX
OPEX
LCOE
LCOH
EL: |  |  | Th
Total Generation | 11682768.75 | Total Generation | 5019799.6979
Total Load | 11705468.15 | Total Load | 11869926.1758
Total El import | 11189267.974 | Total Th import | 7209216.1811
Total El export | 10894619.9077 | Total Th export | 283582.8232
median of price | 0.26834
LCOEnergy
LCOEnergyS
LCOTES
LCOElectricityS
LCOEapp