## Technology Parameters
| HP | BAT | PCM | Boiler | WG | PV
max kW / module | 50 | 82 | 50
max kWh (=100%Soc) / module | 286.125 | 82 | 205
O&M cost/kWh | 0.0011 | 0.002 | 0.003 | 0.0014 | 0.012 | 0.01
O&M cost / module | 0.31474 | 0.164 | 0.615
Specific capital cost/kWh | 200 | 350 | 83
Specific capital cost/modul | 57225 | 28700 | 17015 |  | 2500 | 2000
Plant power (kW) | 450 | 6806 | 1400 |  | 2500 | 3000
Plant efficiency | 0.75 | over 95%
Pumping power (kW) | 600
Stored energy (kWh) | 2575 | 6806 | 5740
Discharge time (Hours) | 5 | 1
Charge time (Hour) | 6 | 1
O&M (€/kWh) | 0.11 | 0.002
Modules | 9 | 83 | 28
SCENARIO SELF CONSUMPTION |  |  | The self-consumption scenario means that we minimize the energy drawn from the grid.
SCENARIO ECO OBJ |  |  | The eco -bj scenario means that we minimize the total energy costs
KPI= | total energy buy fom the grid for the considered scenario (i.e., 51th day)/ total energy bought from the distribution grid scenario base
KPI = | OBJ FUNCTION VALUE for the considered scenario / OBJ FUNCTION VALUE SCENARIO BASE
Note on C4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: I have changed this values

## Scenario
[5 empty] | Total maximum power |  |  | Total capacity of ESS |  |  |  | PV and WT Capital cost | O&M PV and WG | CAPEX | LCOE (NOT TRUE) | LCOE(Total)
| NESS_HP | NESS_BAT | NESS_PCM | Total capital cost of storage | HP (kW) | BAT (kW) | PCM (kW) | HP (kWh) | BAT (kWh) | PCM (kWh) | Total O&M cost of storage
Scenario_Base_1 | 9 | 83 | 28 | 3373545 | 450 | 6806 | 1400 | 2575.125 | 6806 | 5740 | 33.6646 | 12250000 | 6250020 | 1033.2264 | 413.3326 | 2853.6235
Scenario_Base_2 | 9 | 88 | 20 | 3380925 | 450 | 7216 | 1000 | 2575.125 | 7216 | 4100 | 29.5646 | 12250000 | 6250020 | 1125.2454 | 449.9311
Scenario_Base_3 | 9 | 78 | 36 | 3366165 | 450 | 6396 | 1800 | 2575.125 | 6396 | 7380 | 37.7646 | 12250000 | 6250020 | 955.0514 | 382.2402
Scenario_UpperCost_1 | 9 | 90 | 36 | 3710565 | 450 | 7380 | 1800 | 2575.125 | 7380 | 7380 | 39.7326 | 12250000 | 6250020 | 920.7067 | 360.5431
Scenario_UpperCost_2 | 9 | 95 | 28 | 3717945 | 450 | 7790 | 1400 | 2575.125 | 7790 | 5740 | 35.6326 | 12250000 | 6250020 | 991.4822 | 388.0787
Scenario_UpperCost_3 | 9 | 85 | 44 | 3703185 | 450 | 6970 | 2200 | 2575.125 | 6970 | 9020 | 43.8326 | 12250000 | 6250020 | 859.3093 | 336.6562
Scenario_LowerCost_1 | 9 | 75 | 22 | 3041855 | 450 | 6150 | 1100 | 2575.125 | 6150 | 4510 | 28.6626 | 12250000 | 6250020 | 1155.3994 | 472.2319
Scenario_LowerCost_2 | 9 | 80 | 13 | 3032220 | 450 | 6560 | 650 | 2575.125 | 6560 | 2665 | 23.9476 | 12250000 | 6250020 | 1295.0897 | 529.6591
Scenario_LowerCost_3 | 9 | 70 | 30 | 3034475 | 450 | 5740 | 1500 | 2575.125 | 5740 | 6150 | 32.7626 | 12250000 | 6250020 | 1056.6431 | 432.0773
Scenario_Base_1 |  | 0 | 0
Scenario_Base_2 |  | 5 | -8
Scenario_Base_3 |  | -5 | 8
Scenario_UpperCost_1 |  | 7 | 8
Scenario_UpperCost_2 |  | 12 | 0
Scenario_UpperCost_3 |  | 2 | 16
Scenario_LowerCost_1 |  | -8 | -6
Scenario_LowerCost_2 |  | -3 | -15
Scenario_LowerCost_3 |  | -13 | 2
Same Capital Cost
10% investment increase
10% investment decrease

## DAY 51th_SELF CONSUMPTION
PV | Electrical load |  | Electricity price | EL (kW) | PHES | Battery | Grid exchange | Power mismatch |  | BATT_SoC(kWh) | Thermal load | Boiler | PCM | Power mismatch | PCM_SoC (kWh) |  |  | O&Mcost | 0.25714 | 0.25443 | 0.25298 | 0.25275 | 0.25498 | 0.20627 | 0.26978 | 0.27708 | 0.27673 | 0.27678 | 0.27037 | 0.2669 | 0.26475 | 0.26649 | 0.27007 | 0.27432 | 0.27111 | 0.28213 | 0.2809 | 0.27616 | 0.27117 | 0.06649 | 0.061108
0.39174 | 391.7357 | 1 | 0.26039 | 391.7357 | 337.5 | -729.236 | 0 | 0 | 337500 | 4668.8162 | 62.75 | 62.75 | 0 | 0 | 0 | 0 | 391735.7253 | 1.9176
0.39513 | 395.1273 | 2 | 0.25714 | 395.1273 | 337.5 | -732.6273 | 0 | 1.1369e-13 | 337500 | 3936.1889 | 62.75 | 62.75 | 0 | 0 | 0 | 0 | 395127.2883 | 1.9244
0.38684 | 386.8388 | 3 | 0.25443 | 386.8388 | 337.5 | -724.3388 | 0 | -2.2737e-13 | 337500 | 3211.8501 | 62.75 | 62.75 | 0 | 0 | 0 | 0 | 386838.7718 | 1.9078
0.40033 | 400.3276 | 4 | 0.25298 | 400.3276 | 337.5 | -737.8276 | 0 | 0 | 337500 | 2474.0225 | 62.75 | 62.75 | 0 | 0 | 0 | 0 | 400327.6008 | 1.9348
0.39829 | 398.2891 | 5 | 0.25275 | 398.2891 | 337.5 | -735.7891 | 0 | 2.2737e-13 | 337500 | 1738.2334 | 62.75 | 62.75 | 0 | 0 | 0 | 0 | 398289.0843 | 1.9307
0.48575 | 485.7462 | 6 | 0.25498 | 485.7462 | 337.5 | -823.2462 | 0 | 0 | 337500 | 914.9873 | 89.093 | 0 | 5740 | 5829.093 | 5740 | 5740000 | 485746.1617 | 19.2377
0.48766 | 487.6569 | 7 | 0.26271 | 487.6569 | 337.5 | -825.1569 | 0 | 0 | 337500 | 89.8303 | 608.3333 | 0 | -608.3333 | 0 | 5131.6667 | -608333.3452 | 487656.9442 | 3.8466
0.51576 | 515.761 | 8 | 0.26978 | 514.6485 | -337.5 | -89.8303 | 87.3 | 174.6182 | -337500 | 0 | 1032.7789 | 0 | -1032.7789 | 0 | 4098.8877 | -1032778.9374 | 515761.0326 | 3.6492
0.55995 | 559.9459 | 9 | 0.27708 | 272.8647 | -337.5 | 0 | 64.64 | 0.004666 | -337500 | 0 | 1047.9167 | 0 | -1047.9167 | 0 | 3050.971 | -1047916.6785 | 559945.916 | 3.515
0.57193 | 571.9275 | 10 | 0.27673 | -477.4913 | -212.625 | 690.116 | 0 | -0.00026111 | -212625 | 690.116 | 857.7355 | 0 | -857.7355 | 0 | 2193.2355 | -857735.549 | 571927.4889 | 4.1873
0.54498 | 544.9772 | 11 | 0.27678 | -1103.9603 | 0 | 1103.9603 | 0 | 0 | 0 | 1794.0763 | 744.0641 | 0 | -744.0641 | 0 | 1449.1714 | -744064.0614 | 544977.1977 | 4.4401
0.50504 | 505.0424 | 12 | 0.27037 | -725.2451 | 0 | 725.2451 | 0 | 1.1369e-13 | 0 | 2519.3214 | 763.9758 | 0 | -763.9758 | 0 | 685.1957 | -763975.7698 | 505042.4123 | 3.7424
0.49751 | 497.5128 | 13 | 0.2669 | -860.6872 | 0 | 860.6872 | 0 | 1.1369e-13 | 0 | 3380.0085 | 718.9807 | 33.8 | -685.1957 | -0.014931 | 0 | -685195.6587 | 497512.8491 | 3.8243
0.50746 | 507.4614 | 14 | 0.26475 | -423.8448 | 0 | 423.8448 | 0 | 1.1369e-13 | 0 | 3803.8534 | 719.5689 | 719.56 | 1260 | 1260.0089 | 1260 | 1260000 | 507461.4182 | 5.6351
0.53906 | 539.0572 | 15 | 0.26649 | -910.6803 | 0 | 910.6803 | 0 | -2.2737e-13 | 0 | 4714.5337 | 694.4022 | 694.4 | 1260 | 1260.0022 | 2520 | 1260000 | 539057.1804 | 6.5735
0.55681 | 556.815 | 16 | 0.27007 | -930.26 | 0 | 930.26 | 0 | -4.5475e-13 | 0 | 5644.7937 | 720.157 | 0 | -720.157 | 0 | 1799.843 | -720157.0366 | 556814.9979 | 4.021
0.54801 | 548.0093 | 17 | 0.27432 | -999.7032 | 0 | 999.7032 | 0 | -1.1369e-13 | 0 | 6644.4969 | 765.2354 | 0 | -765.2354 | 0 | 1034.6076 | -765235.4117 | 548009.3217 | 4.2951
0.49772 | 497.7187 | 18 | 0.27111 | -114.5188 | 0 | 114.5188 | 0 | -3.1264e-13 | 0 | 6759.0156 | 745.3237 | 0 | -745.3237 | 0 | 289.2838 | -745323.7033 | 497718.7258 | 2.465
0.41715 | 417.148 | 19 | 0.28213 | 337.5168 | -337.5 | 0.00035303 | 0 | 0.017109 | -337500 | 6759.016 | 475.8719 | 475.8719 | 1260 | 1260 | 1549.2838 | 1260000 | 417148.0062 | 4.8175
0.46563 | 465.6313 | 20 | 0.2809 | 465.6 | -337.5 | -128.1004 | 0 | -0.00032444 | -337500 | 6630.9156 | 601.4552 | 0 | -601.4552 | 0 | 947.8286 | -601455.2342 | 465631.2786 | 2.4318
0.51274 | 512.742 | 21 | 0.27616 | 512.742 | -337.5 | -175.242 | 0 | 3.4106e-13 | -337500 | 6455.6736 | 491.0096 | 0 | -491.0096 | 0 | 456.819 | -491009.6419 | 512742.0297 | 2.1948
0.50875 | 508.746 | 22 | 0.27117 | 508.746 | -337.5 | -171.246 | 0 | -4.5475e-13 | -337500 | 6284.4276 | 296.343 | 0 | -296.343 | 0 | 160.476 | -296342.9752 | 508746.0442 | 1.6028
0.51055 | 510.5492 | 23 | 0.26649 | 510.5492 | -337.5 | -173.0492 | 0 | -2.8422e-13 | -337500 | 6111.3784 | 151.9263 | 0 | -151.9263 | 0 | 8.5497 | -151926.3085 | 510549.1936 | 1.1731
0.5007 | 500.7015 | 24 | 0.26111 | 500.7015 | 212.625 | -713.3265 | 0 | -2.2737e-13 | 212625 | 5398.0519 | 32.0048 | 23.4 | -8.5497 | 0.055132 | 0 | -8549.6886 | 500701.4806 | 1.7189
92.9864
|  |  |  | discharge | <0
|  |  |  | charge | >0

## DAY 51th_ECOOBJ
PV | Electrical load |  | PRIC EL | PRICE_GAS [c€/m3] | TH EL | PHES | Battery | Grid exchange | Power mismatch | Thermal load | Boiler | PCM | Power mismatch | BATT_SoC | PCM_SoC | O&Mcost | 0.25714 | 0.25443 | 0.25298 | 0.25275 | 0.25498 | 0.20627 | 0.26978 | 0.27708 | 0.27673 | 0.27678 | 0.27037 | 0.2669 | 0.26475 | 0.26649 | 0.27007 | 0.27432 | 0.27111 | 0.28213 | 0.2809 | 0.27616 | 0.27117 | 0.06649 | 0.061108
0.39174 | 391.7357 | 1 | 0.26039 | 0.53 | 391.7357 | 337.5 | 0 | 0 | 729.2357 | 62.75 | 62.75 | 0 | 0 | 0 | 0 | 0.4591
0.39513 | 395.1273 | 2 | 0.25714 | 0.53 | 395.1273 | 337.5 | 0 | 0 | 732.6273 | 62.75 | 62.75 | 0 | 0 | 0 | 0 | 0.4591
0.38684 | 386.8388 | 3 | 0.25443 | 0.53 | 386.8388 | 337.5 | 0 | 0 | 724.3388 | 62.75 | 62.75 | 0 | 0 | 0 | 0 | 0.4591
0.40033 | 400.3276 | 4 | 0.25298 | 0.53 | 400.3276 | 337.5 | 0 | 0 | 737.8276 | 62.75 | 62.75 | 0 | 0 | 0 | 0 | 0.4591
0.39829 | 398.2891 | 5 | 0.25275 | 0.53 | 398.2891 | 337.5 | 6806.48 | 0 | 7542.2691 | 62.75 | 62.75 | 0 | 0 | 6806.48 | 0 | 14.0721
0.48575 | 485.7462 | 6 | 0.25498 | 0.53 | 485.7462 | 337.5 | 0 | 823.2462 | 1646.4923 | 89.093 | 0 | 5740 | 5829.093 | 6806.48 | 5740 | 17.5912
0.48766 | 487.6569 | 7 | 0.26271 | 0.53 | 487.6569 | 337.5 | 0 | 0 | 825.1569 | 608.3333 | 0 | -608.3333 | 0 | 6806.48 | 5131.6667 | 2.1963
0.51576 | 515.761 | 8 | 0.26978 | 0.53 | 514.6485 | -337.5 | -177.1485 | 0 | 0 | 1032.7789 | 0 | -1032.7789 | 0 | 6629.3315 | 4098.8877 | 3.8239
0.55995 | 559.9459 | 9 | 0.27708 | 0.53 | 272.8647 | -337.5 | 64.6353 | 0 | -1.7053e-13 | 1047.9167 | 0 | -1047.9167 | 0 | 6693.9668 | 3050.971 | 3.6443
0.57193 | 571.9275 | 10 | 0.27673 | 0.53 | -477.4913 | -212.625 | -825.9668 | 690.116 | -825.9671 | 857.7355 | 0 | -857.7355 | 0 | 5868 | 2193.2355 | 4.459
0.54498 | 544.9772 | 11 | 0.27678 | 0.53 | -1103.9603 | 0 | 0 | 1794.0763 | 690.116 | 744.0641 | 0 | -744.0641 | 0 | 5868 | 1449.1714 | 2.2322
0.50504 | 505.0424 | 12 | 0.27037 | 0.53 | -725.2451 | 0 | 0 | 2519.3214 | 1794.0763 | 763.9758 | 0 | -763.9758 | 0 | 5868 | 685.1957 | 2.2919
0.49751 | 497.5128 | 13 | 0.2669 | 0.53 | -860.6872 | 0 | 0 | 3380.0085 | 2519.3214 | 718.9807 | 33.8 | -685.1957 | -0.014931 | 5868 | 0 | 2.1029
0.50746 | 507.4614 | 14 | 0.26475 | 0.53 | -423.8448 | 0 | 0 | 3803.8534 | 3380.0085 | 719.5689 | 719.56 | 1260 | 1260.0089 | 5868 | 1260 | 4.7874
0.53906 | 539.0572 | 15 | 0.26649 | 0.53 | -910.6803 | 0 | 0 | 4714.5337 | 3803.8534 | 694.4022 | 694.4 | 1260 | 1260.0022 | 5868 | 2520 | 4.7522
0.55681 | 556.815 | 16 | 0.27007 | 0.53 | -930.26 | 0 | 0 | 5644.7937 | 4714.5337 | 720.157 | 0 | -720.157 | 0 | 5868 | 1799.843 | 2.1605
0.54801 | 548.0093 | 17 | 0.27432 | 0.53 | -999.7032 | 0 | 0 | 6644.4969 | 5644.7937 | 765.2354 | 0 | -765.2354 | 0 | 5868 | 1034.6076 | 2.2957
0.49772 | 497.7187 | 18 | 0.27111 | 0.53 | -114.5188 | 0 | 0 | 6759.0156 | 6644.4969 | 745.3237 | 0 | -745.3237 | 0 | 5868 | 289.2838 | 2.236
0.41715 | 417.148 | 19 | 0.28213 | 0.53 | 337.5168 | -337.5 | -4500 | 5868 | 1368.0168 | 475.8719 | 475.8719 | 1260 | 1260 | 1368 | 1549.2838 | 13.8175
0.46563 | 465.6313 | 20 | 0.2809 | 0.53 | 465.6 | -337.5 | -128.1 | 0 | 5.6843e-14 | 601.4552 | 0 | -601.4552 | 0 | 1239.9 | 947.8286 | 2.4318
0.51274 | 512.742 | 21 | 0.27616 | 0.53 | 512.742 | -337.5 | -175.242 | 0 | -1.1369e-13 | 491.0096 | 0 | -491.0096 | 0 | 1064.6579 | 456.819 | 2.1948
0.50875 | 508.746 | 22 | 0.27117 | 0.53 | 508.746 | -337.5 | -171.246 | 0 | 0 | 296.343 | 0 | -296.343 | 0 | 893.4119 | 160.476 | 1.6028
0.51055 | 510.5492 | 23 | 0.26649 | 0.53 | 510.5492 | -337.5 | -173.0492 | 0 | -5.6843e-14 | 151.9263 | 0 | -151.9263 | 0 | 720.3627 | 8.5497 | 1.1731
0.5007 | 500.7015 | 24 | 0.26111 | 0.53 | 500.7015 | 212.625 | -720.3627 | 0 | -7.0362 | 32.0048 | 23.4 | -8.5497 | 0.055132 | 0 | 0 | 1.733
93.4348

## KPIs Eco El
Sorted El price EL | Electrical load | Grid Import | Grid Export | Import cost | Export cost | Max_imp_cost | Min_imp_cost | Max_exp_cost | Min_exp_cost
0.25275 | 398.2891 | 0 | 0 | 0 | 0 | 12030.3503 | 10777.6294 | 0 | 0 | FF | 0.29834
0.25298 | 400.3276 | 0 | 0 | 0 | 0 |  |  |  |  | FF shift | 0
0.25443 | 386.8388 | 0 | 0 | 0 | 0 | Act imp cost | Act exp cost |  |  | FF shift benefit
0.25498 | 485.7462 | 823.2462 | 0 | 209.9113 | 0 | 11579.3338 | 0 |  |  | FF weighted | 0.18001
0.25714 | 395.1273 | 0 | 0 | 0 | 0 | [5 empty] | 0.5*((G2-G5)/(G2-H2)+(H5-J2)/(I2-J2))
0.26039 | 391.7357 | 0 | 0 | 0 | 0 |  |  |  |  | Efficiency
0.26111 | 500.7015 | 0 | 0 | 0 | 0 |  |  |  |  | FF | 0.32411
0.26271 | 487.6569 | 0 | 0 | 0 | 0 |  |  |  |  | FF_base | 0.32411
0.26475 | 507.4614 | 3803.8534 | 0 | 1007.0588 | 0 |  |  |  |  | FF_W | 0.34172
0.26649 | 510.5492 | 0 | 0 | 0 | 0 |  |  |  |  | FF_SB | 0
0.26649 | 539.0572 | 4714.5337 | 0 | 1256.3949 | 0 |  |  |  |  | FF_shift | 0
0.2669 | 497.5128 | 3380.0085 | 0 | 902.1141 | 0 |  |  |  |  | Eff | 0.95754
0.26978 | 515.761 | 0 | 0 | 0 | 0 |  |  |  |  | O&M cost | 0.0079822
0.27007 | 556.815 | 5644.7937 | 0 | 1524.4725 | 0
0.27037 | 505.0424 | 2519.3214 | 0 | 681.1439 | 0
0.27111 | 497.7187 | 6759.0156 | 0 | 1832.457 | 0
0.27117 | 508.746 | 0 | 0 | 0 | 0
0.27432 | 548.0093 | 6644.4969 | 0 | 1822.7117 | 0
0.27616 | 512.742 | 0 | 0 | 0 | 0
0.27673 | 571.9275 | 690.116 | 0 | 190.9744 | 0
0.27678 | 544.9772 | 1794.0763 | 0 | 496.568 | 0
0.27708 | 559.9459 | 0 | 0 | 0 | 0
0.2809 | 465.6313 | 0 | 0 | 0 | 0
0.28213 | 417.148 | 5868 | 0 | 1655.5271 | 0
11705.4681

## KPI Suff El
Sorted El price EL | Electrical load | Grid Import | Grid Export | Import cost | Export cost | Max_imp_cost | Min_imp_cost | Max_exp_cost | Min_exp_cost
0.25275 | 398.2891 | 0 | 0 | 0 | 0 | 42.8665 | 38.4028 | 0 | 0 | FF | 0
0.25298 | 400.3276 | 0 | 0 | 0 | 0 |  |  |  |  | FF shift
0.25443 | 386.8388 | 0 | 0 | 0 | 0 | Act imp cost | Act exp cost |  |  | FF shift benefit
0.25498 | 485.7462 | 0 | 0 | 0 | 0 | 41.4622 | 0 |  |  | FF weighted | 0.15731
0.25714 | 395.1273 | 0 | 0 | 0 | 0 | [5 empty] | 0.5*((G2-G5)/(G2-H2)+(H5-J2)/(I2-J2))
0.26039 | 391.7357 | 0 | 0 | 0 | 0 |  |  |  |  | FF | 0.6294
0.26111 | 500.7015 | 0 | 0 | 0 | 0 |  |  |  |  | FF_base | 0.6294
0.26271 | 487.6569 | 0 | 0 | 0 | 0 |  |  |  |  | FF_W | 0.59844
0.26475 | 507.4614 | 0 | 0 | 0 | 0 |  |  |  |  | FF_SB | 0
0.26649 | 510.5492 | 0 | 0 | 0 | 0 |  |  |  |  | FF_shift | 0
0.26649 | 539.0572 | 0 | 0 | 0 | 0 |  |  |  |  | Eff | 0.92446
0.2669 | 497.5128 | 0 | 0 | 0 | 0 |  |  |  |  | O&M cost | 0.0079438
0.26978 | 515.761 | 87.3 | 0 | 23.5521 | 0
0.27007 | 556.815 | 0 | 0 | 0 | 0
0.27037 | 505.0424 | 0 | 0 | 0 | 0
0.27111 | 497.7187 | 0 | 0 | 0 | 0
0.27117 | 508.746 | 0 | 0 | 0 | 0
0.27432 | 548.0093 | 0 | 0 | 0 | 0
0.27616 | 512.742 | 0 | 0 | 0 | 0
0.27673 | 571.9275 | 0 | 0 | 0 | 0
0.27678 | 544.9772 | 0 | 0 | 0 | 0
0.27708 | 559.9459 | 64.64 | 0 | 17.9101 | 0
0.2809 | 465.6313 | 0 | 0 | 0 | 0
0.28213 | 417.148 | 0 | 0 | 0 | 0
11705.4681

## KPIs Eco Thermal
PRICE_GAS [c€/m3] | Thermal load | Boiler | PCM | Power mismatch
0.53 | 62.75 | 62.75 | 0 | 0
0.53 | 62.75 | 62.75 | 0 | 0
0.53 | 62.75 | 62.75 | 0 | 0
0.53 | 62.75 | 62.75 | 0 | 0
0.53 | 62.75 | 62.75 | 0 | 0
0.53 | 89.093 | 0 | -89.093 | 0
0.53 | 608.3333 | 0 | -608.3333 | 0
0.53 | 1032.7789 | 0 | -1032.7789 | 0
0.53 | 1047.9167 | 0 | -1047.9167 | 0
0.53 | 857.7355 | 0 | -857.7355 | 0
0.53 | 744.0641 | 0 | -744.0641 | 0
0.53 | 763.9758 | 0 | -763.9758 | 0
0.53 | 718.9807 | 33.8 | -685.1957 | -0.014931
0.53 | 719.5689 | 719.56 | 1260 | 1260.0089
0.53 | 694.4022 | 694.4 | 1260 | 1260.0022
0.53 | 720.157 | 0 | -720.157 | 0
0.53 | 765.2354 | 0 | -765.2354 | 0
0.53 | 745.3237 | 0 | -745.3237 | 0
0.53 | 475.8719 | 475.8719 | 1260 | 1260
0.53 | 601.4552 | 0 | -601.4552 | 0
0.53 | 491.0096 | 0 | -491.0096 | 0
0.53 | 296.343 | 0 | -296.343 | 0
0.53 | 151.9263 | 0 | -151.9263 | 0
0.53 | 32.0048 | 23.4 | -8.5497 | 0.055132

## KPI Suf th
PRICE_GAS [c€/m3] | Thermal load | Boiler | PCM | Power mismatch
0.53 | 62.75 | 62.75 | 0 | 0
0.53 | 62.75 | 62.75 | 0 | 0
0.53 | 62.75 | 62.75 | 0 | 0
0.53 | 62.75 | 62.75 | 0 | 0
0.53 | 62.75 | 62.75 | 0 | 0
0.53 | 89.093 | 0 | 0 | 89.093
0.53 | 608.3333 | 0 | 0 | 608.3333
0.53 | 1032.7789 | 0 | 0 | 1032.7789
0.53 | 1047.9167 | 0 | 0 | 1047.9167
0.53 | 857.7355 | 0 | 0 | 857.7355
0.53 | 744.0641 | 0 | 0 | 744.0641
0.53 | 763.9758 | 0 | 0 | 763.9758
0.53 | 718.9807 | 33.8 | 0 | 685.1807
0.53 | 719.5689 | 719.56 | 0 | 0.0088824
0.53 | 694.4022 | 694.4 | 0 | 0.0022157
0.53 | 720.157 | 0 | 0 | 720.157
0.53 | 765.2354 | 0 | 0 | 765.2354
0.53 | 745.3237 | 0 | 0 | 745.3237
0.53 | 475.8719 | 475.8719 | 0 | 0
0.53 | 601.4552 | 0 | 0 | 601.4552
0.53 | 491.0096 | 0 | 0 | 491.0096
0.53 | 296.343 | 0 | 0 | 296.343
0.53 | 151.9263 | 0 | 0 | 151.9263
0.53 | 32.0048 | 23.4 | 0 | 8.6048

## Eco sim main
T | P_CT_WD | P_CT_PV | P_c_Cbu | P_c_CEV | P_c_CPl | P_ess_BAT | P_ess_SC | P_ess_HP | P2rk | P_csp | P_tsp | P_ess_PCM | P_c_Ctbu_1 | P_c_Ctbu_2 | P_c_Ctbu_3 | P_c_Ctbu_4 | P_c_Ctbu_5 | P_c_Ctbu_6 | P_c_Ctbu_7 | P_c_Ctbu_8 | P_c_Ctbu_9 | P_c_Ctbu_10 | P_c_Ctbu_11 | P_c_Ctbu_12 | SOC_BAT | SOC_SC | SOC_HP | SOC_PCM | Pe_grid | Pt_grid | EP_con | EP_gen
0 | 0 | 0 | -391735.7253 | 0 | 0 | 0 | 0 | 337500 | 0 | -1916.11 | 1 | 0 | -62750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0.5 | 1 | -54235.7253 | -64665.11 | 0.25469 | 0.19521
3600 | 0 | 0 | -395127.2883 | 0 | 0 | 0 | 0 | 337500 | 0 | -1745.93 | 1 | 0 | -62750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0.29816 | 1 | -57627.2883 | -64494.93 | 0.23504 | 0.17445
7200 | 0 | 0 | -386838.7718 | 0 | 0 | 0 | 0 | 337500 | 0 | -1504.68 | 1 | 0 | -62750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0.096322 | 1 | -49338.7718 | -64253.68 | 0.20922 | 0.14961
10800 | 0 | 0 | -400327.6008 | 0 | 0 | 0 | 0 | 0 | 0 | -1389.39 | 1 | 0 | -62750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0 | 1 | -400327.6008 | -64138.39 | 0.20068 | 0.14057
14400 | 0 | 0 | -398289.0843 | 0 | 0 | 3428771.5 | 0 | 0 | 0 | -1330.01 | 1 | 0 | -62750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0 | 1 | 3030482.4157 | -64079.01 | 0.20198 | 0.14056
18000 | 0 | 0 | -485746.1617 | 0 | 0 | 0 | 0 | 0 | 0 | -1261.3 | 1 | 0 | -62750 | 0 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | 0.16314 | 0.5 | 0 | 1 | -485746.1617 | -90353.2752 | 0.20758 | 0.14516
21600 | 0 | 0 | -487656.9442 | 0 | 0 | 0 | 0 | 0 | 0 | -25186.1 | 1 | 0 | -188333.3333 | -367314.0614 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | 0.16314 | 0.5 | 0 | 1 | -487656.9442 | -633518.4452 | 0.22291 | 0.15946
25200 | 0 | 1112.5 | -515761.0326 | 0 | 0 | -177148.5326 | 0 | -337500 | 0 | -49335.7 | 1 | 0 | -533750 | -367314.0614 | -13171.4876 | -13171.4876 | -13171.4876 | -13171.4876 | -13171.4876 | -13171.4876 | -13171.4876 | -13171.4876 | -13171.4876 | -13171.4876 | 0.16314 | 0.5 | 0 | 1 | -1029297.0652 | -1082113.6374 | 0.23401 | 0.17157
28800 | 0 | 287081.25 | -559945.916 | 0 | 0 | 64635.334 | 0 | -337500 | 0 | -48084.2 | 1 | 0 | -627916.6667 | -367314.0614 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | -5268.595 | 0.19069 | 0.5 | 0.06599 | 1 | -545729.332 | -1095999.8785 | 0.20459 | 0.14926
32400 | 0 | 1049418.75 | -571927.4889 | 0 | 0 | -825966.8014 | 0 | -212625 | 0 | 3928.43 | 1 | 0 | -477250 | -367314.0614 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | 0.18063 | 0.5 | 0.13549 | 1 | -561100.5403 | -853806.119 | 0.19018 | 0.14056
36000 | 0 | 1648937.5 | -544977.1977 | 0 | 0 | 0 | 0 | 0 | 0 | 12700.7 | 1 | 0 | -376750 | -367314.0614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.30837 | 0.5 | 0.16235 | 1 | 1103960.3023 | -731362.3614 | 0.17811 | 0.13582
39600 | 0 | 1230287.5 | -505042.4123 | 0 | 0 | 0 | 0 | 0 | 0 | 52287.9 | 1 | 0 | -364166.6667 | -399809.1031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.30837 | 0.5 | 0.16235 | 1 | 725245.0877 | -711686.8698 | 0.1713 | 0.13022
43200 | 0 | 1358200 | -497512.8491 | 0 | 0 | 0 | 0 | 0 | 0 | 60700.9 | 1 | 0 | -351666.6667 | -367314.0614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.30837 | 0.5 | 0.16235 | 1 | 860687.1509 | -658278.8281 | 0.17035 | 0.12872
46800 | 0 | 931306.25 | -507461.4182 | 0 | 0 | 0 | 0 | 0 | 0 | 148898 | 1 | 0 | -339083.3333 | -367314.0614 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | 0.30837 | 0.5 | 0.16235 | 1 | 423844.8318 | -570669.8824 | 0.17129 | 0.12993
50400 | 0 | 1449737.5 | -539057.1804 | 0 | 0 | 0 | 0 | 0 | 0 | 108168 | 1 | 0 | -313916.6667 | -367314.0614 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | 0.30837 | 0.5 | 0.16235 | 1 | 910680.3196 | -586233.2157 | 0.17044 | 0.1289
54000 | 0 | 1487075 | -556814.9979 | 0 | 0 | 0 | 0 | 0 | 0 | 92478.7 | 1 | 0 | -326500 | -367314.0614 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | 0.30837 | 0.5 | 0.16235 | 1 | 930260.0021 | -627677.3366 | 0.16784 | 0.12529
57600 | 0 | 1547712.5 | -548009.3217 | 0 | 0 | 0 | 0 | 0 | 0 | 142138 | 1 | 0 | -339083.3333 | -399809.1031 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | 0.30837 | 0.5 | 0.16235 | 1 | 999703.1783 | -623096.4117 | 0.17469 | 0.12832
61200 | 0 | 612237.5 | -497718.7258 | 0 | 0 | 0 | 0 | 0 | 0 | -3979.18 | 1 | 0 | -351666.6667 | -367314.0614 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | 0.30837 | 0.5 | 0.16235 | 1 | 114518.7742 | -749301.8833 | 0.18501 | 0.13632
64800 | 0 | 79631.25 | -417148.0062 | 0 | 0 | -4500000 | 0 | -337500 | 0 | -3636.21 | 1 | 0 | -370500 | 0 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | 0.30837 | 0.5 | 0.20499 | 1 | -5175016.7562 | -479507.1108 | 0.25895 | 0.19972
68400 | 0 | 31.25 | -465631.2786 | 0 | 0 | -128100.0286 | 0 | -337500 | 0 | -3366.21 | 1 | 0 | -496083.3333 | 0 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | -10537.1901 | 0.77502 | 0.5 | 0.29027 | 1 | -931200.0572 | -604820.4442 | 0.27743 | 0.21782
72000 | 0 | 0 | -512742.0297 | 0 | 0 | -175242.0297 | 0 | -337500 | 0 | -2405.64 | 1 | 0 | -464666.6667 | 0 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | 0.79459 | 0.5 | 0.37555 | 1 | -1025484.0594 | -493414.2819 | 0.28453 | 0.22479
75600 | 0 | 0 | -508746.0442 | 0 | 0 | -171246.0442 | 0 | -337500 | 0 | -2027.3 | 1 | 0 | -270000 | 0 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | 0.81895 | 0.5 | 0.46082 | 1 | -1017492.0884 | -298369.2752 | 0.28195 | 0.22303
79200 | 0 | 0 | -510549.1936 | 0 | 0 | -173049.1936 | 0 | -337500 | 0 | -1982.61 | 1 | 0 | -125583.3333 | 0 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | -2634.2975 | 0.8426 | 0.5 | 0.5461 | 1 | -1021098.3872 | -153907.9185 | 0.27047 | 0.21472
82800 | 0 | 0 | -500701.4806 | 0 | 0 | -720362.7038 | 0 | 212625 | 0 | -1863.19 | 1 | 0 | -18833.3333 | 0 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | -1317.1488 | 0.86633 | 0.5 | 0.55035 | 1 | -1008439.1844 | -33867.0109 | 0.26045 | 0.20463